Uncertainty in Physics

| Description of error / uncertainty | Type (systematic / random) | Mitigation | Value | Percentage |
| --- | --- | --- | --- | --- |
| e.g. Measuring length with a ruler | Random | Ensure the equipment has the smallest divisions possibly – e.g. 1mm (for standard ruler). Technique during measurement | ½ the smallest division (0.5mm) X 2 as measured at both ends (1.0mm) | At 0.5m; 1.0 X 10-3 / 0.5 = 0.2% |
| e.g. Ammeter not set to 0.00 when used (zero-error) | Systematic | Ensure the device is correctly calibrated Ensure that contacts are moisture free Connect-disconnect-reconnect | e.g. 0.06 read | At 2.15A 0.06 / 2.15 = 2.79% |